{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["일체배관 (배관)","박스 및 드레인 자재"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"일체배관 (배관)","index":0,"n_rows":43,"n_cols":34,"rows_kept":43,"merged":[[1,1,1,34],[2,1,2,4],[2,5,2,10],[2,11,2,13],[2,14,2,16],[2,17,2,21],[2,22,2,25],[2,26,2,27],[2,28,2,30],[2,31,2,32],[2,33,2,34],[3,1,3,4],[3,5,3,10],[3,11,3,13],[3,14,3,16],[3,17,3,21],[3,22,3,25],[3,26,3,27],[3,28,3,34],[4,1,4,34],[5,1,5,17],[5,18,5,34],[6,1,6,4],[6,5,6,10],[6,11,6,12],[6,13,6,14],[6,16,6,17],[6,18,6,19],[6,20,6,21],[6,22,6,23],[6,25,6,26],[6,27,6,28],[6,29,6,30],[6,31,6,32],[6,33,6,34],[7,1,7,3],[7,5,7,9],[8,1,8,3],[8,5,8,9],[9,1,9,3],[10,1,10,3],[14,1,14,2],[14,3,14,5],[14,6,14,7],[14,8,14,10],[14,11,14,12],[14,14,14,15],[14,16,14,17],[14,18,14,19],[14,20,14,21],[14,22,14,24],[14,25,14,26],[14,27,14,28],[14,29,14,30],[14,31,14,32],[14,33,14,34],[15,1,15,2],[15,3,15,5],[15,6,15,7],[15,8,15,10],[15,11,15,12],[15,14,15,15],[15,16,15,17],[15,18,15,19],[15,20,15,21],[15,22,15,24],[15,25,15,26],[15,27,15,28],[15,29,15,30],[15,31,15,32],[15,33,15,34],[16,1,16,2],[16,3,16,5],[16,6,16,7],[16,8,16,10],[16,11,16,12],[16,14,16,15],[16,16,16,17],[16,18,16,19],[16,20,16,21],[16,22,16,24],[16,25,16,26],[16,27,16,28],[16,29,16,30],[16,31,16,32],[16,33,16,34],[17,1,17,2],[17,3,17,5],[17,6,17,7],[17,8,17,10],[17,11,17,12],[17,14,17,15],[17,16,17,17],[17,18,17,19],[17,20,17,21],[17,22,17,24],[17,25,17,26],[17,27,17,28],[17,29,17,30],[17,31,17,32],[17,33,17,34],[18,1,18,2],[18,3,18,5],[18,6,18,7],[18,8,18,10],[18,11,18,12],[18,14,18,15],[18,16,18,17],[18,18,18,19],[18,20,18,21],[18,22,18,24],[18,25,18,26],[18,27,18,28],[18,29,18,30],[18,31,18,32],[18,33,18,34],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,10],[19,11,19,12],[19,14,19,15],[19,16,19,17],[19,18,19,19],[19,20,19,21],[19,22,19,24],[19,25,19,26],[19,27,19,28],[19,29,19,30],[19,31,19,32],[19,33,19,34],[20,1,20,2],[20,3,20,5],[20,6,20,7],[20,8,20,10],[20,11,20,12],[20,14,20,15],[20,16,20,17],[20,18,20,19],[20,20,20,21],[20,22,20,24],[20,25,20,26],[20,27,20,30],[20,31,20,32],[20,33,20,34],[22,1,22,17],[22,18,22,34],[23,1,23,4],[23,5,23,10],[23,11,23,12],[23,13,23,14],[23,16,23,17],[23,18,23,19],[23,20,23,21],[23,22,23,23],[23,25,23,26],[23,27,23,28],[23,29,23,30],[23,31,23,32],[23,33,23,34],[24,1,24,3],[24,5,24,9],[25,1,25,3],[25,5,25,9],[26,1,26,3],[27,1,27,3],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,10],[31,11,31,12],[31,14,31,15],[31,16,31,17],[31,18,31,19],[31,20,31,21],[31,22,31,24],[31,25,31,26],[31,27,31,28],[31,29,31,30],[31,31,31,32],[31,33,31,34],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,10],[32,11,32,12],[32,14,32,15],[32,16,32,17],[32,18,32,19],[32,20,32,21],[32,22,32,24],[32,25,32,26],[32,27,32,28],[32,29,32,30],[32,31,32,32],[32,33,32,34],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,10],[33,11,33,12],[33,14,33,15],[33,16,33,17],[33,18,33,19],[33,20,33,21],[33,22,33,24],[33,25,33,26],[33,27,33,28],[33,29,33,30],[33,31,33,32],[33,33,33,34],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,10],[34,11,34,12],[34,14,34,15],[34,16,34,17],[34,18,34,19],[34,20,34,21],[34,22,34,24],[34,25,34,26],[34,27,34,28],[34,29,34,30],[34,31,34,32],[34,33,34,34],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,10],[35,11,35,12],[35,14,35,15],[35,16,35,17],[35,18,35,19],[35,20,35,21],[35,22,35,24],[35,25,35,26],[35,27,35,28],[35,29,35,30],[35,31,35,32],[35,33,35,34],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,10],[36,11,36,12],[36,14,36,15],[36,16,36,17],[36,18,36,19],[36,20,36,21],[36,22,36,24],[36,25,36,26],[36,27,36,28],[36,29,36,30],[36,31,36,32],[36,33,36,34],[37,1,37,2],[37,3,37,5],[37,6,37,7],[37,8,37,10],[37,11,37,12],[37,14,37,15],[37,16,37,17],[37,18,37,19],[37,20,37,21],[37,22,37,24],[37,25,37,26],[37,27,37,30],[37,31,37,32],[37,33,37,34],[39,1,39,34],[42,1,47,34]]}
[]
[null,"하이시스 이엔지 일체배관 표준 발주서"]
[null,"주문업체명",{"$nulls":9},"주문 담당자",{"$nulls":5},"주문 담당자 연락처",{"$nulls":8},"발주일",{"$nulls":4},"배송요청일"]
[null,"현장명",{"$nulls":9},"인수자",{"$nulls":5},"인수자 연락처",{"$nulls":8},"주소"]
[]
[null,"□. 거실 매립배관(   ), 침실 매립배관(    ), 노출 배관(    ) 스펙",{"$nulls":16},"#. 하기 표기외 특이사항 :"]
[null,"제품분류",{"$nulls":3},"라인수",{"$nulls":5},"기본 CD관",null,"보온재",null,"-","고압관경",null,"고압두께",null,"저압관경",null,"저압두께",null,"-","통신선 종류",null,"통신선 규격",null,"전원선 종류",null,"전원선 규격",null,"제조처"]
[null,"엠보노출",null,null,"√","노출 일체, 매립1라인",{"$nulls":5},"없음",null,"5t",null,null,6.35,null,0.7,null,9.52,null,0.7,null,null,"고무전선",null,"1.0*4",null,"CV선",null,"2.5*3",null,"무한"]
[null,"고무발포 노출",{"$nulls":3},"노출 트윈, 매립2라인",{"$nulls":5},14,null,"8t",null,null,9.52,null,0.8,null,12.7,null,0.8,null,null,"VCTF",null,"1.0*5",{"$nulls":3},"4.0*3",null,"엠에스"]
[null,"매립",{"$nulls":9},16,null,"10t",{"$nulls":6},15.88,null,0.9,null,null,"VCT",null,"1.5*4",{"$nulls":5},"에어텍"]
[null,"CD관+전선",{"$nulls":9},22,null,"9t*13t",{"$nulls":6},19.05,null,1,{"$nulls":4},"1.5*5"]
[{"$nulls":11},28,null,"13t*13t",{"$nulls":6},22.22]
[{"$nulls":11},32,null,"13t*19t"]
[{"$nulls":11},"16*2"]
[null,"길이 (m)",null,"수량",null,null,"합계(m)",null,"타입",null,null,"길이(m)",null,"수량","합계(m)",null,"타입",null,"길이(m)",null,"수량",null,"합계(m)",null,null,"타입",null,"길이(m)",null,"수량",null,"합계(m)",null,"타입"]
[{"$nulls":6},{"$f":"D16*B16","v":{"v":0,"d":"0.0"}},null,"84A(예시)",{"$nulls":5},{"$f":"L16*N16","v":{"v":0,"d":"0.0"}},null,"84A(예시)",{"$nulls":5},{"$f":"U16*S16","v":{"v":0,"d":"0.0"}},null,null,"84A(예시)",{"$nulls":5},{"$f":"AD16*AB16","v":{"v":0,"d":"0.0"}},null,"84A(예시)"]
[{"$nulls":6},{"$f":"D17*B17","v":{"v":0,"d":"0.0"}},{"$nulls":7},{"$f":"L17*N17","v":{"v":0,"d":"0.0"}},{"$nulls":7},{"$f":"U17*S17","v":{"v":0,"d":"0.0"}},{"$nulls":8},{"$f":"AD17*AB17","v":{"v":0,"d":"0.0"}}]
[{"$nulls":6},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":8},{"v":0,"d":"0.0"}]
[{"$nulls":6},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":8},{"v":0,"d":"0.0"}]
[{"$nulls":6},{"$f":"D20*B20","v":{"v":0,"d":"0.0"}},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":7},{"$f":"U20*S20","v":{"v":0,"d":"0.0"}},{"$nulls":8},{"$f":"AD20*AB20","v":{"v":0,"d":"0.0"}}]
[{"$nulls":6},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":4},"총합계",{"$nulls":3},{"$f":"SUM(G16:H21,O16:P21,W16:Y21,AF16:AG20)","v":{"v":0,"d":"0.0"}}]
[]
[null,"□. 거실 매립배관(   ), 침실 매립배관(   ), 노출 배관(    ) 스펙",{"$nulls":16},"#. 하기 표기외 특이사항 :"]
[null,"제품분류",{"$nulls":3},"라인수",{"$nulls":5},"기본 CD관",null,"보온재",null,"-","고압관경",null,"고압두께",null,"저압관경",null,"저압두께",null,"-","통신선 종류",null,"통신선 규격",null,"전원선 종류",null,"전원선 규격",null,"제조처"]
[null,"엠보노출",{"$nulls":3},"노출 일체, 매립1라인",{"$nulls":5},"없음",null,"5t",null,null,6.35,null,0.7,null,9.52,null,0.7,null,null,"고무전선",null,"1.0*4",null,"CV선",null,"2.5*3",null,"무한"]
[null,"고무발포 노출",{"$nulls":3},"노출 트윈, 매립2라인",{"$nulls":5},14,null,"8t",null,null,9.52,null,0.8,null,12.7,null,0.8,null,null,"VCTF",null,"1.0*5",{"$nulls":3},"4.0*3",null,"엠에스"]
[null,"매립",{"$nulls":9},16,null,"10t",{"$nulls":6},15.88,null,0.9,null,null,"VCT",null,"1.5*4",{"$nulls":5},"에어텍"]
[null,"CD관+전선",{"$nulls":9},22,null,"9t*13t",{"$nulls":6},19.05,null,1,{"$nulls":4},"1.5*5"]
[{"$nulls":11},28,null,"13t*13t",{"$nulls":6},22.22]
[{"$nulls":11},32,null,"13t*19t"]
[{"$nulls":11},"16*2"]
[null,"길이 (m)",null,"수량",null,null,"합계(m)",null,"타입",null,null,"길이(m)",null,"수량","합계(m)",null,"타입",null,"길이(m)",null,"수량",null,"합계(m)",null,null,"타입",null,"길이(m)",null,"수량",null,"합계(m)",null,"타입"]
[{"$nulls":6},{"$f":"D33*B33","v":{"v":0,"d":"0.0"}},null,"84A(예시)",{"$nulls":5},{"$f":"L33*N33","v":{"v":0,"d":"0.0"}},null,"84A(예시)",{"$nulls":5},{"$f":"U33*S33","v":{"v":0,"d":"0.0"}},null,null,"84A(예시)",{"$nulls":5},{"$f":"AD33*AB33","v":{"v":0,"d":"0.0"}},null,"84A(예시)"]
[{"$nulls":6},{"$f":"D34*B34","v":{"v":0,"d":"0.0"}},{"$nulls":7},{"$f":"L34*N34","v":{"v":0,"d":"0.0"}},{"$nulls":7},{"$f":"U34*S34","v":{"v":0,"d":"0.0"}},{"$nulls":8},{"$f":"AD34*AB34","v":{"v":0,"d":"0.0"}}]
[{"$nulls":6},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":8},{"v":0,"d":"0.0"}]
[{"$nulls":6},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":8},{"v":0,"d":"0.0"}]
[{"$nulls":6},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":8},{"v":0,"d":"0.0"}]
[{"$nulls":6},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":7},{"v":0,"d":"0.0"},{"$nulls":4},"총합계",{"$nulls":3},{"$f":"SUM(G33:H38,O33:P38,W33:Y38,AF33:AG37)","v":{"v":0,"d":"0.0"}}]
[]
[null,"□. 주문시 유의 사항\n    : 오주문 방지를 위해 자사발주서를 권장드립니다. 금일 발주서 토대로 자사발주서 샘플로 보내드리오니 향후 자사발주서 사용을 부탁드리겠습니다.\n    : 3m 이하 제작은 제조체별로 생산이 불가 하거나 추가 비용이 발생하오니 참고하여 주십시요.\n    : 일체배관은 주문제작 제품으로 생산된 이후에는 취소 및 반품이 불가 하오니 참조하여 주십시요."]
[]
[]
[null,"□. 기타 요청사항"]

{"sheet":"박스 및 드레인 자재","index":1,"n_rows":33,"n_cols":34,"rows_kept":33,"merged":[[1,1,1,34],[2,1,2,4],[2,5,2,10],[2,11,2,13],[2,14,2,16],[2,17,2,21],[2,22,2,25],[2,26,2,27],[2,28,2,30],[2,31,2,32],[2,33,2,34],[3,1,3,4],[3,5,3,10],[3,11,3,13],[3,14,3,16],[3,17,3,21],[3,22,3,25],[3,26,3,27],[3,28,3,34],[4,1,4,34],[6,1,6,34],[7,1,7,10],[8,1,8,3],[8,4,8,6],[8,7,8,10],[8,11,8,12],[8,13,8,15],[8,16,8,17],[8,18,8,20],[8,21,8,22],[8,23,8,26],[8,27,8,28],[8,30,8,32],[8,33,8,34],[9,1,9,34],[11,1,11,10],[12,1,12,3],[12,4,12,6],[12,7,12,10],[12,11,12,12],[12,13,12,15],[12,16,12,17],[12,18,12,20],[12,21,12,22],[12,23,12,26],[12,27,12,28],[12,30,12,32],[12,33,12,34],[13,1,13,34],[15,1,15,10],[16,1,16,3],[16,4,16,6],[16,7,16,10],[16,11,16,12],[16,13,16,15],[16,16,16,17],[16,18,16,20],[16,21,16,22],[16,23,16,26],[16,27,16,28],[16,30,16,32],[16,33,16,34],[17,1,17,34],[18,1,18,34],[20,1,20,3],[20,4,20,8],[20,9,20,12],[20,14,20,16],[20,17,20,20],[20,21,20,22],[20,23,20,25],[20,26,20,27],[20,28,20,29],[20,30,20,32],[20,33,20,34],[21,1,23,3],[21,4,21,7],[21,9,21,11],[21,13,23,13],[21,14,23,16],[21,17,21,19],[21,21,23,22],[21,23,22,25],[21,26,21,27],[21,28,21,29],[21,30,21,32],[21,33,21,34],[22,4,22,7],[22,9,22,11],[22,17,22,19],[22,26,22,27],[22,28,22,29],[22,30,22,32],[22,33,22,34],[23,4,23,7],[23,9,23,11],[23,17,23,19],[23,23,23,27],[23,28,23,29],[23,30,23,32],[23,33,23,34],[25,1,25,11],[25,12,25,26],[25,27,25,34],[26,1,26,2],[26,3,26,5],[26,6,26,13],[26,14,26,17],[26,18,26,19],[26,20,26,34],[27,3,27,5],[27,6,27,7],[27,8,27,10],[27,11,27,12],[27,14,28,17],[27,20,28,20],[27,21,27,22],[27,23,28,24],[27,26,28,27],[27,29,28,32],[27,33,27,34],[28,3,28,5],[28,6,28,7],[28,8,28,10],[28,11,28,12],[28,21,28,22],[28,33,28,34],[29,1,29,5],[29,6,29,10],[29,11,29,12],[29,13,29,16],[29,17,29,19],[29,20,29,34],[32,1,49,34]]}
[]
[null,"하이시스 이엔지 일체배관 박스 부속 및 부자재 표준 발주서"]
[null,"주문업체명",{"$nulls":9},"주문 담당자",{"$nulls":5},"주문 담당자 연락처",{"$nulls":8},"발주일",{"$nulls":4},"배송요청일"]
[null,"현장명",{"$nulls":9},"인수자",{"$nulls":5},"인수자 연락처",{"$nulls":8},"주소"]
[]
[]
[null,"□. 매립박스 주문"]
[null,"-. 실외기 매립박스 자재 주문",{"$nulls":9},"Maker : 무한(    ), 태성플라스틱-엠에스(     ), 에어텍(      )",{"$nulls":11},"사이즈 : 320*300*80(    ), 290*200*80(    ), 250*200*80(   )"]
[null,"실외기 박스 \n주문수량",null,null,"개",null,null,"10mm 연결대\n주문수량",{"$nulls":3},"개",null,"40mm 연결대\n주문수량",null,null,"개",null,"보온재\n주문수량",null,null,"개",null,"전면(    ), 후면 (  )\n부착작업 Y(   ), N(   )",{"$nulls":3},"마감카바\n주문수량",null,"개","속카바\n주문수량",null,null,"개"]
[null,"기타 요청사항 : 커버색상 변경이나 미기제 단열 박스 등"]
[]
[null,"-. 거실 매립박스 자재 주문",{"$nulls":9},"Maker : 무한(   ), 태성플라스틱-엠에스(     ), 에어텍(      )",{"$nulls":11},"사이즈 : 300*150*80(    ), 230*150*80(    ), 230*135*80(   )"]
[null,"거실 박스 \n주문수량",null,null,"개",null,null,"10mm 연결대\n주문수량",{"$nulls":3},"개",null,"40mm 연결대\n주문수량",null,null,"개",null,"보온재\n주문수량",null,null,"개",null,"전면(   ), 후면 (  )\n부착작업 Y(   ), N(   )",{"$nulls":3},"마감카바\n주문수량",null,"개","속카바\n주문수량",null,null,"개"]
[null,"기타 요청사항 : 커버색상 변경이나 미기제 단열 박스 등"]
[]
[null,"-. 침실 매립박스 자재 주문",{"$nulls":9},"Maker : 무한(   ), 태성플라스틱-엠에스(     ), 에어텍(      )",{"$nulls":11},"사이즈 : 400*150*80(     )"]
[null,"침실 박스 \n주문수량",null,null,"개",null,null,"10mm 연결대\n주문수량",{"$nulls":3},"개",null,"40mm 연결대\n주문수량",null,null,"개",null,"보온재\n주문수량",null,null,"개",null,"전면(    ), 후면 (  )\n부착작업 Y(   ), N(   )",{"$nulls":3},"마감카바\n주문수량",null,"개","속카바\n주문수량",null,null,"개"]
[null,"기타 요청사항 : 커버색상 변경이나 미기제 단열 박스 등"]
[]
[null,"□. 기타 부자재 주문"]
[null,"제품",null,null,"타입",{"$nulls":4},"사용압력",{"$nulls":3},"수량","제품",null,null,"스펙",{"$nulls":3},"수량",null,"제품",null,null,"수량",null,"기타 요청제품",null,"스펙",null,null,"수량"]
[null,"압력게이지",null,null,"숫놈(M)",{"$nulls":4},"50kgf(R-22)",{"$nulls":3},"개","챠지니뿔",null,null,"Φ 6.35",{"$nulls":3},"개",null,"모세관",null,null,"m"]
[{"$nulls":4},"암놈(F)",{"$nulls":4},"70kgf(R-410)",{"$nulls":7},"Φ 3.2",{"$nulls":8},"롤"]
[{"$nulls":4},"파이프(용접)",{"$nulls":18},"업체별 롤당 길이 상이함"]
[]
[null,"□. 매립 드레인(PB, PE-RT) 자재 주문",{"$nulls":10},"Maker : 정산애강(   ), 프럼파스트(    ), 현대 EP(    )",{"$nulls":14},"제품 : PB(    ), PE-RT(     )"]
[null,"구분",null,"규격",null,null,"직관 주문",{"$nulls":7},"직관 보온 여부",{"$nulls":3},"규격",null,"부속 주문"]
[null,"난방",null,"20mm",null,null,"3m",null,"본",null,null,"6m",null,"본","5t 난연보온 (   )\n비보온 (   )",{"$nulls":3},"20mm",null,"엘보","개",null,"소켓",null,"개","정티",null,"개","서포트 슬리브\nSUS (   ), \n플라스틱 (    )",{"$nulls":3},"개"]
[null,"급수",null,"32mm",null,null,"3m",null,"본",null,null,"6m",null,"본",{"$nulls":4},"32mm",null,null,"개",{"$nulls":3},"개",null,null,"개",{"$nulls":4},"개"]
[null,"이형티(BRT) 주문",{"$nulls":4},"32mm*32mm\n*20mm",{"$nulls":4},"개",null,"25mm*25mm\n*20mm",{"$nulls":3},"개",null,null,"기타 요청사항 : 미기제 부속 및 파이프"]
[]
[]
[null,"□. 기타 요청사항 \n     : 경량 보강 철물 등의 간략한 도면이나 스케치 등 요청 및 기타 요청사항 기재 요망\n"]